## MATTRU JONG ULTRASOUND
MATTRU-JONG GOVERNMENT HOSPITAL.
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR 1
UPGRADE
CEILING
A | Allow for dismantling and removing existing ceiling and noggins |  |  | Item
and cast away rubbish off site.
ELECTRICAL & MECHANICAL
B | Allow for removing all electrical and machanical fittings attached |  |  | Item
to the ceiling and walls to be demolished set aside for the client.
FINISHES
C | Allow for Scarifying floor and wall tiles and cart away rubbish |  |  | Item
off site.
COMPONENT
D | Allow for removing existing doors and windows and set aside |  |  | Item
for the client
WALLS
E | Allow for demolishing existing failed wall and cart away |  |  | Item
rubbles off site
ALTERATION
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR. 2
WALLS
External and Internal wall
Load-Bearing Wall
Hollow Sand crete block wall bedded and jointed in
cement and sand mortar laid in stretcher bond
as described in:
A | 150mm | m2 | 18
WALLS:
| Carried to summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR. 3
DOORS AND WINDOWS
Aluminium sliding door
Supply and fix Aluminium sliding door complete with frames
and glazing/fibre and ironmongeries overall sizes:
A | 900mm x 2100mm high | Nr | 1
Steel Door
B | Allow for making good existing steel casement door with locks | Nr | 1
and painting included overall sizes 1200mm x 2100mmhigh.
WINDOWS
Existing Windows
Allow for making good existing steel casement windows to
include broken pane glasses, staple, hinges, mosquitoes mesh and
painting overall sizes:
C | 1200 x 1200mm high. | Nr | 2
DOORS AND WINDOWS :
| Carried to summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR.4
FINISHES
The following are internally, unless otherwise
stated:
Floor finishings
A | Allow for making good existing floor finish, clean and maintain in |  |  | Item
good state to the satisfaction of the Project Manager
approximately 29m2
Ceiling finishings
Internally
B | Suspended 200mm wide white colour PVC ceiling
| strips complete with all fixing accessories. | m2 | 29
Noggins
C | 50mm x 50mm treated hardwood noggins to receive
| 600mm x 600mm hardboard ceilings. | m | 87
Painting and Decorating
Prepare and apply two undercoat and one finishing
coat emulsion paint on:
D | Rendered surfaces of wall | m2 | 75
E | Reveal not exceeding 350mm girth | m | 12
External Finishings
Ceiling finishings
Internally
F | Suspended 200mm wide white colour PVC ceiling
| strips complete with all fixing accessories. | m2 | 15
Noggins
G | 50mm x 50mm treated hardwood noggins to receive
| 600mm x 600mm hardboard ceilings. | m | 45
Painting and Decorating
External Weather Shield paint
Prepare and apply two coat of high quality weather
shield paint on:
H | Rendered surfaces of wall | m2 | 45
FINISHES :
| Carried to summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NO. 5
ELECTRICAL INSTALLATIONS
Supply and install electrical "first Fix" for the
following generally in a conceled plastic conduit,
fittings includes chaseing , casting building in
conduits and sleeves through floors, walls and
ceiling plugged for fixing conduites and fitting
P V C boxex 3'' x 3''(3''x 6'')
A | AC Points | NR | 1
Supply and install electrical "Second Fix" for the ground floor,
DRAW cable wire to circuts 1.5mm2 drwan in 25mm diameter
pvc conduits pipes wiring complete with all boxes and fittings
from distribution points to light switch points.
B | Ceiling light points | NRS | 2
C | Weather proof security wall light point | NRS | 2
D | Light switch points | NRS | 1
Supply and install electrical "Second Fix" for the ground floor,
DRAW cable wire to circuts 6mm2 drwan in 25mm diameter
pvc conduits pipes wiring complete with all boxes and fittings
from distribution points to raw power A/C points outlets.
E | Aircondiioners | NRS | 1
FITTINGS AND ACCESSORIES
Provide and installed the followings for proper
offices and outdoor lighting luminaire
F | Flourecent LED lighting fittings twin 2x600mm. | NRS | 2
G | Wheather shield big bulk head fittings with
| enegy bulbs 18 watts day light | NRS | 1
H | Earthing Installation | NR | 1
J | 15 Amps Air conditioner units | NRS | 1
K | Supply, and install and terminate the following 415/240 V 50 HZ
| 100 Amps 6 way TPN distribution boards. | NRS | 1
L | 10 amps light switches
M | 1 gang 1 way switch | NRS | 6
N | 2 gangs 1 way switch | NRS | 3
O | Inverter ac units complete with connection accesserios
| 12000btu | NRS | 1
P | Connect 25 mm dis x4 c pvc/swa/pvc amoured cable | Sum | 1
Q | Allow for relocating the existing 18000btu to the X-ray section |  |  | Item
of the space with all fiiting and accessories.
0
ELECTRICAL INSTALLATION
| :Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR.6
EXTERNAL WORKS
DRAIN CHANNEL.
A | Repair including
| reinforcement, and finishings to reinforced | m | 23
concrete perimeter drains sizes 600mm x 750mm high
to include mild steel grating
APRONS
B | 150mm thick laterite bed to a slight fall to receive concrete | m3 | 4
apron
C | 150mm thick plain in-situ concrete mix 1:2:4 19mm | m3 | 4
aggregate in aprons.
EXTERNAL WORKS
Carried to summary
PROPOSED REHABILITATION OF ULTRASOUND ROOM AT THE |  |  |  |  | AMOUNT
MATTRU-JONG GOVERNMENT HOSPITAL. |  |  |  |  | Le
SUMMARY
| ELEMENT NR.1 ALTERATION |  |  |  | 0
| ELEMENT NR.2 WALLS |  |  |  | 0
| ELEMENT NR.3 DOORS AND WINDOWS |  |  |  | 0
| ELEMENT NR.4 FINISHES |  |  |  | 0
| ELEMENT NR.5 ELECTRICAL INSTALLATION |  |  |  | 0
| ELEMENT NR.6 EXTERNAL WORKS |  |  |  | 0
| SUB-TOTAL |  | Le |  | 0
ADD
| PRELIMINARIES 5% |  |  |  | 0
| TOTAL ESTIMATED COST:- |  | Le |  | 0