## KENEMA CT SCAN & ULTRASOUND
KENEMA GOVERNMENT HOSPITAL.
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
.
. | ELEMENT NR 1
ALTERATION
ROOF
A | Removing existing roof and roof |  |  | Item
covering and set aside for the client in a location approved by
the them.
CEILING
B | Removing existing ceiling and noggins |  |  | Item
and cart away rubbish off site.
ELECTRICAL & MECHANICAL
C | Allow for removing all electrical and machanical fittings attached |  |  | Item
to the ceiling and walls to be demolished set aside for the client.
FINISHES
D | Allow for Scarifying floor and wall tiles and cart away rubbish |  |  | Item
off site.
COMPONENT
E | Allow for removing existing doors and windows and set aside |  |  | Item
for the client
WALLS
F | Allow for demolishing existing passage area and cart away |  |  | Item
rubbles off site
ALTERATION
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR 2
SUBSTRUCTURE
Site Preperation
EXCAVATION AND EARTHWORKS
A | Excavate pit to receive bases of column; starting
| at striplevel; maximum depth not exceeding 2.00m | m3 | 10 |  | 0
B | Ditto to trenches starting at strip level; post maximum | m3 | 31 |  | 0
depth not exceeding 2.00m
C | Extra over excavation for Rocky Soil or any other
| hard materials |  |  | Sum
D | Earthwork support to vertical sides of excavations
maximum depth not exceeding 2.00m and distance
| between oppossing faces exceeding 4.00m | m2 | 86 |  | 0
E | Remove surplus excavated materials from site | m3 | 18 |  | 0
FILLING
F | Backfill and well ram selected excavated materials
| around foundations | m3 | 23 |  | 0
G | 225mm thick bed of imported laterite earth filling
| spread, leveled, well rolled and consolidated to | m3 | 18 |  | 0
receive hardcore bed
H | 225mm thick Hardcore filling to make up levels
| deposited and floor consolidated in layer of 150mm | m3 | 18 |  | 0
to receive concrete bed.
SURFACE TREATMENT
J | Level and compact bottom of excavations | m2 | 30 |  | 0
K | Apply dieldrex or equal and approved anti-termite
| solution to sides and bottom of excavations. | m2 | 116 |  | 0
L | Blind Surface of hardcore; sand;minimum 25mm thick | m2 | 45 |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
DAMP PROOF MEMBRANE
A | Two layers of ''Visqueen'' or similar Polythene; 1000mm
| guage membrane laid on hardcore over blockwall and | m2 | 45 |  | 0
lapped 150mm at sides and ends.
The total volumn of concrete in this section is
approximately m3
Plain In - situ Concrete
B | 50mm thick concrete (1:5:10) blinding in footing | m3 | 1 |  | 0
C | Plain insitu concrete (1:3:6) in foundation trenches
| not exceeding 300mm maximum thickness | m3 | 7 |  | 0
Vibrated reinforced in-situ concrete (1:2:4-12mm
aggregates) well packed around reinforcements in
formwork in:
D | Isolated Column Bases (8 Nr provisional) | m3 | 3 |  | 0
E | Sub Column not exceeding 0.10m2 | m3 | 1 |  | 0
G | Ground floor bed. | m3 | 7 |  | 0
REINFORCEMENT
High tensile steel reinforcement bar to B.S 4449 including cutting,
bending and fixing into position in reinforced concrete in:
H | 12mm diameter bars column bases | kg | 540 |  | 0
J | 16mm diameter bars in sub-column | kg | 140 |  | 0
K | 10mm diameter bars as stirrups in Column | kg | 60 |  | 0
WIRE MESH
L | Fabric mesh reinforcement to BS 1483 with ref. no.
| 193 weighing 2.91kg/m2 in concrete bed 150mm | kg | 108 |  | 0
minimum end and side laps.
FORMWORK
Sawn form work to provide rough finish to:
M | Vertical Sides of Square Sub-Column | m2 | 14 |  | 0
O | Edges of Sub-Column Bases not exceeding 250mm | m | 9 |  | 0
P | Edges of floor slab 150mm thick | m | 18 |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
BLOCK WORK
Hollow Sandcrete blockwork fill solid with weak
concrete in cement and sand mortar as described in:
A | 230mm thick | m2 | 34 |  | 0
IN-SITU FINISHINGS
C | Cement sand rendering to wall up to plinth level of
| 450mm high. | m2 | 11 |  | 0
D | 2 coats of high quality Emulsion paint to rendered
| surfaces externally | m2 | 11 |  | 0
| To Collection |  |  |  | 0
COLLECTIONS
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
SUBSTRUCTURE
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR 3
FRAME
The total volumn of concrete in this section is
approximately m3
Vibrated reinforced in-situ concrete (1:2:4-12mm
aggregates) well packed around reinforcements in
formwork in:
A | Square Column of cross sectional area not exceeding | m3 | 2 | 0 | 0
0.10m2
B | Beams | m3 | 4 | 0 | 0
C | Lintel | m3 | 0.5 | 0 | 0
REINFORCEMENTS
High tensile steel bar reinforcement to BS 4449 in
straight and bent length including tying wires,
hooks and ordinary spacers: ( provisional )
D | 16mm diameter bars in column | kg | 252 | 0 | 0
E | 16mm diameter bars in beam | kg | 504 | 0 | 0
F | 12mm diameter bars in lintel | kg | 63 | 0 | 0
G | 10mm diameter bars as stirrups
| (Column,Beam & Lintels) | kg | 351 | 0 | 0
FORMWORK
Basic finish formwork to:
H | Vertical sides of square column | m2 | 10 | 0 | 0
J | Sides and Soffits of beams | m2 | 38 | 0 | 0
K | Sides and soffit of lintels. | m2 | 2 | 0 | 0
FRAME:
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR 4
WALLS
External and Internal wall
Load-Bearing Wall
Hollow Sand crete block wall bedded and jointed in
cement and sand mortar laid in stretcher bond
as described in:
A | 150mm | m2 | 118 |  | 0
B | 150mm to increase headroom of the existing area | m2 | 45 |  | 0
Aluminium Partitioning
C | Supply and fix Aluminium demountable partitioning in frames and | m2 | 11 |  | 0
fibre to include door with hydralic self complete with ironmongeries
to a height not exceeding 3000mm high separating Ultrsound
room from the CT scan control room.
D | Ditto to top of the upstand wall in the CT scan control room to | m2 | 7 |  | 0
include lead lining
WALLS:
| Carried to summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT Nr.5
ROOF AND ROOF COVERING
WOODWORK
CARCASSING
The following in pitched roof Sawn treated hardwood
A | 50mm x 75mm purlins | m | 243 |  | 0
B | 50mm x 150mm Rafter | m | 189 |  | 0
C | 50mm x 150mm Tie Beam | m | 159 |  | 0
D | 75mm x 100mm wall plate | m | 39 |  | 0
E | 50mm x 100mm Struts | m | 325 |  | 0
COVERINGS
F | 0.5mm Aluminium longspan roofing sheets fixed to hardwood | m2 | 206 |  | 0
treated purlins (measured separately)
G | Ditto to capping 450mm girth. | m | 21 |  | 0
ROOF AND ROOF COVERINGS:-
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR.6
DOORS AND WINDOWS
SOLID CORE FLUSH DOORS
44mm thick high quality hardwood solid core flush door in
white matt finish complete with hydraulic self closer,
overall sizes: single leaf-single swing door
D | 1200mm x 2100mm high | Nr | 3 |  | 0
E | 900mm x 2100mm high | Nr | 3 |  | 0
750mm x 2100mm high, 1-leaf single swing solid core
F | flush door fix with Yale mortice lock to Architect. | Nr | 4 |  | 0
Door frame
Plained red hardwood mahogany timber, well
treated with clear preservative in :
G | 150 x 50mm rebated stiles/jamb and including 15 x 50mm
| rough wood ground plugged and screwed to concrete. | m | 42 |  | 0
H | Ditto to rebated head to include plugging to blockwall | m | 12.3 |  | 0
Wrought hardwood
J | 12mm x 50mm Architrave, with splayed edges | m | 54.3 |  | 0
IRONMONGERY
Supply and fix the following best quality
ironmongery to hardwood with matching screws
K | 2-Pair of 100mm brass butt hinges | Pair | 30 |  | 0
L | 3 turn 'Yale' steel lock or similar approved 100mm
| cylinder mortice lock with 3-levers, complete with set | Nr | 10 |  | 0
gold anodised lever furniture.
M | 100mm steel barrel bolt | Nr | 4 |  | 0
WINDOWS
ALUMINIUM SLIDING WINDOW
Supply and fix aluminium Casement windows complete with
Natural Anodised coated frame, in 6mm thick tinted glazing
including cutting and pinning to concrete or blockwork, in
accordance with the manufactural fixing details overall sizes:
Q | 1200 x 1200mm high. | Nr | 5 |  | 0
R | 900 x 1200mm high. | Nr | 8 |  | 0
S | 900 x 600mm high. | Nr | 4 |  | 0
Metal Guard Bars
Mild steel guard bars comprising 2Nr 25mm x 50mm
RHS section as horizontal members 25mm x 39mm
centers, all welded together and ground to a smooth
finish, fixed to window openings overall size
(see Architect Design)
D | 1200 x 1200mm high. | Nr | 5 |  | 0
| 900 x 1200mm high. | Nr | 8 |  | 0
| 900 x 600mm high. | Nr | 4 |  | 0
DOORS AND WINDOWS :
| Carried to summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR.7
FINISHES
The following are internally, unless otherwise
stated:
Floor finishings
Vitrified Ceramic floor tiles
A | 600mm x 600mm x 8mm thick Vitrified ceramic floor | m2 | 115 |  | 0
tiles bedded and jointed in cement sand screeded bed
(measured separately)
B | 600mm x 600mm x 6mm thick non slip ceramic floor tiles | m2 | 18 |  | 0
C | 100mm high matching Vitrified ceramic tiles skirtings | m | 185 |  | 0
Cement Sand Screeded Bed
D | 34mm thick cement and sand (1:6 mix) screeded bed. | m2 | 151.5 |  | 0
to receive Vitrified ceramic floor tiles
E | 50mm thick granolithic cement sand (1:6) mix to ramp | m2 | 18 |  | 0
Wall finishings
F | 12mm thick cement and sand (1:4 mix) rendering on | m2 | 326 |  | 0
blockwall .
G | Ditto to Reveal not exceeding 350mm girth | m | 75 |  | 0
Wall Tiles
Ceramic wall tiles
H | 300mm x 200mm x 6mm thick white glazed ceramic
| wall tiles fixed with matching colour cement slurry | m2 | 15 |  | 0
(Ref: Toilets)
Cement Sand Screeded Backings
J | 12mm thick cement and sand (1:6 mix) screeded
| bed to receive wall tiles | m2 | 15 |  | 0
Ceiling finishings
Internally
K | Suspended 200mm wide white colour PVC ceiling
| strips complete with all fixing accessories. | m2 | 133 |  | 0
Noggins
M | 50mm x 50mm treated hardwood noggins to receive
| 600mm x 600mm hardboard ceilings. | m | 399 |  | 0
N | Provide and install structural ceiling support member for |  |  | Item
in-monitor and camera as specified in the CT Scan drawing in
accordance to the manufacturer details.
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
Painting and Decorating
Prepare and apply two undercoat and one finishing
coat emulsion paint on:
A | Rendered surfaces of wall | m2 | 326 |  | 0
B | Reveal not exceeding 350mm girth | m | 75 |  | 0
C | Provide Code 5 Lead lining to CT scan walls internally to prevent | m2 | 86 |  | 0
radiation in the with best Practice
External Finishings
Ceiling finishings
Internally
D | Suspended 200mm wide white colour PVC ceiling
| strips complete with all fixing accessories. | m2 | 45 |  | 0
Noggins
E | 50mm x 50mm treated hardwood noggins to receive
| 600mm x 600mm hardboard ceilings. | m | 135 |  | 0
Painting and Decorating
External Weather Shield paint
Prepare and apply two coat of high quality weather
shield paint on:
F | Rendered surfaces of wall | m2 | 85 |  | 0
| To Collection |  |  |  | 0
COLLECTIONS
| Page 9 |  |  |  | 0
| Page 10 |  |  |  | 0
FINISHES :
| Carried to summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR.8
FITTINGS AND FIXTURE
Shelves
A | Allow for the sum of Le………………. for fittings and
fixtures: cub -board with veneered faced ply,
complete with drawers shutter and Ironmongery black
Afara open shelf in three layer to include decorating in
| synthetie clear finish. |  |  | Sum
Balustrade
B | Allow for the supply and fixing of sprayed galvanised
steel handrails and balusters in Approach and Rear side
Sum
FITTINGS & FIXTURE
| Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR.9
PLUMBING AND MECHANICAL INSTALLATION
Pipework, joint and support to the following cold
water and sanitary installation
Concealed uPVC service pipework to cold water and
sanitary installation including joints and supports to the
running lengths of the following:
A | P-trap WC suit complete with cistern | Nr | 2 |  | 0
B | Wash Hand Basin,single, with bottle trap 11/4'' | Nr | 2 |  | 0
D | Stainless floor drain | Nr | 2 |  | 0
SANITARY APPLIANCES
Suppy, assemble and fix the following:
E | White vitreous china, low level WC suit comprising
pan with P-trap and heavy duty black seat and cover,
| 9mm litre capacity cistern complete with all | Nr | 2 |  | 0
accessories.
F | Wash hand basin 520mm x 450mm including wall
| brackets, plugging and screwing to blockwork or | Nr | 2 |  | 0
concrete
J | 600mm long x 600mm wide silver floated mirror fixed | Nr | 2 |  | 0
with chromium plated dome headed screws to wall.
K | Chromium plated soap dish | Nr | 2 |  | 0
L | Chromium towel rail; 900mm long | Nr | 2 |  | 0
M | Chromium plated toilet roll holder | Nr | 2 |  | 0
N | Stainless Floor drain | Nr | 2 |  | 0
A | Allow the provisional sum of Le…………………. for pipe
| ( soil and cold water pipes) fittings,and associated work |  |  | Sum
in plumbing installation
PLUMBING AND MECHANICAL INSTALLATION
| :Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NO. 10
ELECTRICAL INSTALLATIONS
Supply and install electrical "first Fix" for the following
generally in a conceled plastic conduit,fittings includes
chaseing , casting building inconduits and sleeves through
ceiling plugged for fixing conduites and fitting
floors, walls and P V C boxex 3'' x 3''(3''x 6'')
A | Ceiling light points | NR | 15 |  | 0
0
B | Weather proof security wall light point | NR | 4 |  | 0
0
C | Light switch points | NR | 19 |  | 0
0
D | 13Amp double socket outlet | NR | 18 |  | 0
0
E | AC Points | NR | 4 |  | 0
0
Supply and install electrical "Second Fix" for the ground floor,
DRAW cable wire to circuts 1.5mm2 drwan in 25mm diameter
pvc conduits pipes wiring complete with all boxes and fittings
from distribution points to light switch points.
F | Ceiling light points | NRS | 15 |  | 0
0
G | Weather proof security wall light point | NRS | 4 |  | 0
0
H | Light switch points | NRS | 19 |  | 0
0
| Supply and install electrical "Second Fix" for the ground floor, |  |  |  | 0
| DRAW cable wire to circuts 2.5mm2 drwan in 25mm diameter |  |  |  | 0
| pvc conduits pipes wiring complete with all boxes and fittings |  |  |  | 0
| from distribution points to raw power sockets points outlets. |  |  |  | 0
J | 13 Amps points double sockets | NRS | 18 |  | 0
0
| Supply and install electrical "Second Fix" for the ground floor, |  |  |  | 0
| DRAW cable wire to circuts 6mm2 drwan in 25mm diameter |  |  |  | 0
| pvc conduits pipes wiring complete with all boxes and fittings |  |  |  | 0
| from distribution points to raw power A/C points outlets. |  |  |  | 0
K | Aircondiioners | NRS | 4 |  | 0
0
| FITTINGS AND ACCESSORIES |  |  |  | 0
| Provide and installed the followings for proper |  |  |  | 0
| offices and outdoor lighting luminaire |  |  |  | 0
L | Flourecent LED lighting fittings 1x1200mm. | NRS | 6 |  | 0
0
M | 18 watts LED 300mm circular diammeter size |  |  |  | 0
| reccessed type, For solar power supply | NRS | 7 |  | 0
0
N | Wheather shield big bulk head fittings with |  |  |  | 0
| enegy bulbs 18 watts day light | NRS | 3 |  | 0
0
O | Earthing Installation | NR | 1 |  | 0
0
P | 13 Amps double switche sockets for raw power | NRS | 18 |  | 0
0
Q | 15 Amps Air conditioner units | NRS | 4 |  | 0
0
R | Supply, and install and terminate the following 415/240 V 50 HZ |  |  |  | 0
| 100 Amps 6 way TPN distribution boards. | NRS | 1 |  | 0
| To Collection |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
A | 10 amps light switches |  |  |  | 0
0
B | 1 gang 1 way switch | NRS | 6 |  | 0
0
C | 2 gangs 1 way switch | NRS | 2 |  | 0
0
D | 3 gangs 1 way switch | NRS | 2 |  | 0
E | Inverter ac units complete with connection accesserios |  |  |  | 0
| 12000btu | NRS | 4 |  | 0
0
F | Connect 25 mm dis x4 c pvc/swa/pvc amoured cable | Sum | 1 |  | 0
G | Supply, and install and terminate dedicated 250A MCCB breaker |  |  |  | 0
| in the facility panel for power supply to the CT Scan | NRS | 1 |  | 0
H | Supply, and install and terminate dedicated 250A TP&N Switch gears |  |  |  | 0
| for the 160KVA CT UPS input and output connection. Input gear | NRS | 1 |  | 0
switchshould be installed in the UPS room and output switch gear
in the exam room.
J | Supply, install and terminate 4-core 95mm sq flexible CU cable to | m | 100 |  | 0
and from the breaker to the UPS and to the CT PDB
K | Allow for all electrical minor works in relation to the installation |  |  | Lot
of the CT Scan Equipment under the directive of the Project Manager
| To Collection |  |  |  | 0
COLLECTIONS
| Page 14 |  |  |  | 0
| Page 15 |  |  |  | 0
ELECTRICAL INSTALLATION
| :Carried to Summary |  |  |  | 0
ITEM | DESCRICPTION | UNIT | QTY | RATE | AMOUNT
Le
ELEMENT NR.11
EXTERNAL WORKS
DRAIN CHANNEL.
A | Allow for the excavation,concreting including
| reinforcement, and finishings to reinforced | m | 54 |  | 0
concrete perimeter drains sizes 600mm x 750mm high
to include mild steel grating
APRONS
B | 150mm thick laterite bed to a slight fall to receive concrete | m3 | 8 |  | 0
apron
C | 150mm thick plain in-situ concrete mix 1:2:4 19mm | m3 | 6 |  | 0
aggregate in aprons.
EXTERNAL WORKS
| Carried to summary |  |  |  | 0
PROPOSED RE-CONSTRUCTION OF CT-SCAN AND ULTRASOUND |  |  |  |  | AMOUNT
BUILDING, KENEMA GOVERNMENT HOSPITAL. |  |  |  |  | Le
SUMMARY
| ELEMENT NR.1 DEMOLITION |  |  |  | 0
| ELEMENT NR.2 SUBSTRUCTURE |  |  |  | 0
| ELEMENT NR.3 FRAME |  |  |  | 0
| ELEMENT NR.4 WALLS |  |  |  | 0
| ELEMENT NR.5 ROOF |  |  |  | 0
| ELEMENT NR.6 DOORS AND WINDOWS |  |  |  | 0
| ELEMENT NR.7 FINISHES |  |  |  | 0
| ELEMENT NR.8 FITTINGS & FIXTURES |  |  |  | 0
| ELEMENT NR.9 PLUMBING & MECHANICAL |  |  |  | 0
INSTALLATION
| ELEMENT NR.10 ELECTRICAL INSTALLATION |  |  |  | 0
| ELEMENT NR.11 EXTERNAL WORKS |  |  |  | 0
| SUB-TOTAL |  | Le |  | 0
ADD
| PRELIMINARIES 5% |  |  |  | 0
| TOTAL ESTIMATED COST:- |  | Le |  | 0